|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | | **Medical Gas System** | | | | | |
| Item | Designation | | Pr. Code | Quantity | Sise | Characteristics |
| 4 | Iqual Tee | | ET | 175 | 12mm2 | Copper |
| 5 | Iqual Tee | | ET | 60 | 22mm2 | Copper |
| 6 | Iqual tee | | ET | 20 | 28mm2 |  |
| 7 | Reducing Tee | | RT | 40 | From 22 to 12mm2 | Copper |
| 8 | Reducing Tee | | RT | 20 | From 28 to 12mm2 | Copper |
| 9 | Elbow | | EB | 60 | 22 mm2 | Copper |
| 10 | Elbow | | EB | 25 | 28 mm2 | Copper |
| 11 | Elbow | | EB | 60 | 12 mm2 | Copper |
| 12 | Elbow | | EB | 10 | 28 mm2 | Copper |
| 13 | Iqual Tee | | ET | 15 | 28 mm2 | Copper |
| 14 | Iqual Tee | | ET | 30 | 22 mm2 | Copper |
| 15 | Reducing Coupler | | RC | 40 | From 22 to 12 mm2 | Copper |
| 16 | Reducing Coupler | | RC | 45 | From 28 to 12 mm2 | Copper |
| 17 | Reducing Coupler | | RC | 20 | From 15 to 12 mm2 | Copper |
| 18 | Reducing Coupler | | RC | 20 | From 32 to 12 mm2 |  |
| 19 | Reducing Elbow | | RE | 30 | From 22 to 12 mm2 | Copper |
| 20 | Reducing Elbow | | RE | 40 | From 22 to 12 mm2 | Copper |
| 21 | Straight Coupling | | SC | 130 | 22 mm2 | Copper |
| 22 | Straight Coupling | | SC | 60 | 28 mm2 | Copper |
| 23 | Straight Coupling | | SC | 60 | 12 mm2 | Copper |
| 24 | Degreased medical copper tube | |  | 200 meters | 28 mm2 | Copper |
| 25 | Degreased medical copper tube | |  | 400 meters | 22 mm2 | Copper |
| 26 | Degreased medical copper tube | |  | 500 meters | 12 mm2 | Copper |
| 27 | Degreased medical copper tube | |  | 200 meters | 32 mm2 | Copper |
| 31 | Medical Gas Pipeline Identification Tape | | - | 3 | - | Blue, Green, Yelow |
| 32 | Silver Solder Brazing Alloy | | - | 50 | - | - |
| 33 | Brass Munsen Ring | |  | 02 | 12mm | - |
| 34 | Brass Munsen Ring | |  | 02 | 22mm | - |
| 35 | Brass Munsen Ring | |  | 01 | 28mm | - |